Using the EasySense Flash Logger

On your PDA (with Pocket PC capabilities)

- go to Start> Programs> Sensing Science

- choose Graph if you are using the temperature probe

- click the white paper icon at the bottom left corner of the screen

- you will need to set up the information for your particular experiment

- press the red arrow at the bottom left corner to begin

At this point you will begin gathering data for your experiment.  After 5 minutes you will see a graph generated at the top of your screen.

- to highlight a specific area of the graph, click on the screen at the point you want to start until you get a vertical line, drag to the stopping point

- Click Display> Use Selection.  This will show you the graph of only the area you selected

- To see a smoother graph, go to Tools> Smooth and use the < > arrows to make your graph smoother

You can save your information to use later

- go to File> Save As.  Using the onscreen keyboard, name your file and click OK when finished

You can also transfer your information to Excel.

- go to Edit> Copy Table

- click the X at the top right corner to leave the graph (be sure you saved it first), then click OK at the top right corner to exit the program.

- on your menu screen, click on Pocket Excel

- click Edit> Paste

- click File> Save As> and name your file

To retrieve your data on your PC

- be sure your PDA is connected to your computer

- go to My Computer> Mobile Device

- click on the file you want

- transfer file to your hard drive

- Open Excel program, open file